## ESP-7-64-764B

## Ni-MH BUTTON CELL

TECHNICAL DATA

| Model | Voltage | Capacity | Recommended Trickle Charge Current | Nominal Charge Current | Normal Charging Time | Nominal Discharge Current | Weight |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ## ESP-7-64-764B | 2.4V | 80mAh | 2.4~4mA | 8mA | 14~16h | 16Ma | 8g |

TECHNICAL CHARACTERISTICS

| TYPICAL CHARGE CURVE ( 8mA ) |  | TYPICAL DISCHARGE CURVE ( 16mA ) |  | CYCLE LIFE CURVE |  |
| --- | --- | --- | --- | --- | --- |
| VOLTAGE (V) |  | VOLTAGE (V) |  | % NOMINAL CAPACITY |  |
|  | Time：( H ) |  | Time：( H ) |  | Number of cycles |
| TYPICAL CHARGE CURVE AT VARIOUS CURRENTS |  | DISCHARGE CURVE AT VARIOUS TEMPERATURES (16mA) |  | SELF DISCHARGE RATE AT VARIOUS TEMPERATURES |  |
| VOLTAGE (V) |  | VOLTAGE (V) |  | RETAINED CAPACITY (%) |  |
|  | Capacity input (%) |  | Time：(H) |  | Time：(Months) |